Electrical Engineering Department

LESSON PLANS

(August-November 2026)

| Name of the Faculty |  |  |  | Mrs. Poonam Saini |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Discipline |  |  |  | Electrical Engineering |  |  |
| Semester |  |  |  | 5thSemester |  |  |
| Subject |  |  |  | Solar Panel Installation and Maintenance |  |  |
| Lesson Plan Duration |  |  |  | 15-16 Week |  |  |
| Week | Theory |  |  |  | Practical |  |
|  | Lecture | Topic (including assignment/test) |  |  | Practical | Topic |
| 1 | 1,2 | Basic of PV system |  |  |  |  |
|  | 3 | PV Cell, PV panel, PV module |  |  |  |  |
| 2 | 4,5,6 | PV Arrays, Photovoltaic I-V Characteristics Curves, conversion efficiency |  |  |  |  |
| 3 | 7,8,9 | Selection of Site: Site assessment tools |  |  |  |  |
| 4 | 10,11 | Site Location ,Climate Condition |  |  |  |  |
|  | 12 | Solar Irradiance |  |  |  |  |
| 5 | 13,14,15 | Solar Insulation ,Sun Angle and PV Orientation, Shading analysis |  |  |  |  |
| 6 | 16,17,18 | Tilt angle and its significance in solar panel orientation |  |  |  |  |
| 7 | 19,20,21 | PV Module: Series and Parallel connection of PV |  |  |  |  |
| 8 | 22,23 | Charger Controller: Function, type of charge controller |  |  |  |  |
|  | 24 | Inverter: Function ,power ratings |  |  |  |  |
| 9 | 25,26 | Storage Battery: Battery parameters ,battery bank |  |  |  |  |
|  | 27 | Types of batteries used in solar system |  |  |  |  |
| 10 | 28 | PV Mounting Structure :Roof mounted and ground mounted |  |  |  |  |
|  |  | Structure |  |  |  |  |
|  | 29 | Balance of Systems: Disconnecting switches, wires and cables, combiner boxes, net meter, protection devices, earthing and grounding, Solar tracking systems etc. |  |  |  |  |
|  | 30 | Installation Tool: Hand tool ,wire strippers, crimping tools |  |  |  |  |
| 11 | 31 | Nuts ,andwashers ,Leveling tools, ground anchors, multi meter |  |  |  |  |
|  | 32 | Clamp on meter ,non-contact thermometer ,angle finder etc |  |  |  |  |
|  | 33 | Types of Solar PV System: Standalone PV system ,On Grid system, Off Grid system |  |  |  |  |
| 12 | 34 | Hybrid PV system, Comparison of Different types of PV system |  |  |  |  |
|  | 35 | Design Methodology for SPV system: Calculation of load, Size of solar panel |  |  |  |  |
|  | 36 | Battery sizing, Selection of inverter, Size of charge controller, Cable sizing etc |  |  |  |  |
| 13 | 37 | Connection of PV system components |  |  |  |  |
|  | 38 | Operating Hazardous Tools and Equipment: Personal protective equipment(PPE),Fall protection equipment/tools, Fire protection equipment |  |  |  |  |
|  | 39 | Safety of PV system: PV module safety, Electrical Safety, Battery safety |  |  |  |  |
| 14 | 40 | Marking and Labeling of PV components |  |  |  |  |
|  | 41,42 | Maintenance of Solar PV system |  |  |  |  |
| 15 | 43,44 | Maintenance of Battery |  |  |  |  |
|  | 45 | Installation and Troubleshooting of Solar PV system |  |  |  |  |
| 16 | 46,47 | Revision-1 |  |  |  |  |
|  | 48 | Revision-2 |  |  |  |  |

| Name of the Faculty |  |  | Mrs. Sharmila |  |
| --- | --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |  |
| Semester |  |  | 5th Semester |  |
| Subject |  |  | ELECTRICAL POWER –I |  |
| Lesson Plan Duration |  |  | 15-16 Week |  |
| Week | Theory |  | Practical |  |
|  | Lecture | Topic (including assignment / test) | Day | Topic |
| 1 | 1,2,3 | Main resources of energy, Conventional and non-conventional | 1 | To measure earth resistance with the help of earth resistance tester. |
| 2 | 4,5 | Different types of power stations, thermal, hydro, gas | 2 | To study different types of line insulators, line support. |  |
|  | 6 | Diesel and nuclear power stations | 3 | Visit a power generation plant to study its major parts, working and prepare detail report. |  |
| 3 | 7,8,9 | Flow diagrams and brief details of their operation, Comparison of the generating stations on the basis of running cost, site, starting, maintenance | 4 | Visit a 400kV/220kV/132kV transmission line and make list of all components viz line supports, conductors, insulators and other accessories and prepare detail report. |  |
| 4 | 10,11,12 | Importance of non-conventional sources of energy in the present scenario, Brief details of solar energy, bio-energy, wind energy | 5 | Visit to a 66kV/33kV/11kV/415V/230V distribution line make list of all components viz line |  |
| 5 | 13, 14,15 | Fixed and running cost, Load estimation, load curves, demand factor | 6 | To determine experimentally flash over voltage of transformer oil and hence determine the dielectric strength |  |
| 6 | 16,17, 18 | Load factor, diversity factor, power factor and their effect on cost of generation, simple problems there on | 7 | To measure the rating of capacitor bank installed in a sub-station for improving power factor |  |
| 7 | 19, 20 | Base load and peak load power stations, inter-connection of power stations and its advantages, concept of regional and national grid | 8 | Study of Indian Electricity rules as per BIS standard related to clearance of overhead |  |
|  |  |  |  | transmission and distribution lines |  |
|  | 21 | Layout of transmission system, selection of voltage for H.T and L.T lines, advantages of high voltage for Transmission of power in both AC and DC | 9 | Draw a layout diagram of 11kV/400V substation installed in the campus and make list of all accessories |  |
| 8 | 22, 23 | Comparison of different systems: AC versus DC for power transmission | 10 | To find fault in underground cables by Murray Loop Test/ Varley Loop Test. |  |
|  | 24 | Conductor material and sizes from standard tables | 11 | Study of data related to conductors of different sizes/types for overhead lines as per IS 398. |  |
| 9 | 25, 26, 27 | Types of supports, types of insulators, Types of conductors, Selection of insulators, conductors, earth wire and their accessories | 12 | Visit to a distribution substation to study layout of major components and types of Feeders, Distributors and Service Mains and prepare detailed report. |  |
| 10 | 28 | Transposition of conductors and string efficiency of suspension type insulators, Bundle Conductors, Mechanical features of line: Importance of sag, calculation of sag |  |  |  |
|  | 29 | Effects of wind and ice related problems; Indian electricity rules pertaining to clearance |  |  |  |
|  | 30 | Electrical features of line: Calculation of resistance inductance and capacitance without derivation in a.c. transmission line, voltage regulation, and concept of corona. |  |  |  |
| 11 | 31, 32 | Effects of corona and remedial measures, Transmission Losses, Lay out of HT and LT distribution system |  |  |  |
|  | 33 | Constructional feature of distribution lines and their erection, LT feeders and service mains; Simple problems on AC radial distribution system, determination of size of conductor |  |  |  |
| 12 | 34 | Preparation of estimates of HT and LT lines (OH and Cables). |  |  |  |
|  | 35,36 | Constructional features of LT (400 V), HT (II kV) underground cables, advantages and disadvantages of underground system with respect to overhead system |  |  |  |
| 13 | 37 | Calculation of losses in distribution system, Faults in underground cables-determine fault location by Murray Loop Test, Faults in underground cables-determine fault location by Murray Loop Test |  |  |  |
|  | 38, 39 | Varley Loop Test |  |  |  |
| 14 | 40 | Varley Loop Test, Brief idea about substations; outdoor grid sub-station 220/132 KV, 66/33 KV out door substation |  |  |  |
|  | 41,42 | Pole mounted substations and indoor substation, layout of 33/11 and kV/400V distribution substation and various auxiliaries and equipment associated with it |  |  |  |
| 15 | 43, 44, 45 | Concept of power factor Reasons and disadvantages of low power factor |  |  |  |
| 16 | 46 | Methods for improvement of power factor using capacitor banks, VAR Static Compensator (SVC) |  |  |  |
|  | 47, 48 | Revision of Topics already covered |  |  |  |

| Name of the Faculty | Mohd. Mohsin |
| --- | --- |
| Discipline | Electrical Engineering |
| Semester | 5thSemester |
| Subject | Electric Vehicle Technology |
| Lesson Plan Duration | 15-16 Week |

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
|  | Day | Topic (including assignment / test) | Day | Topic |
| 1 | 1 | Introduction to Electric Vehicles (EV) | 1 | Draw block diagram of Electric Vehicle and identify its various parts. |
|  | 2 | History and evolution of Electric Vehicle |  |  |
| 2 | 3 | Policies and regulations related to EV in India | 2 | Develop schematic diagram of hybrid electric vehicle and its parts. |
|  | 4 | Needs and Importance of Electric Vehicle |  |  |
| 3 | 5 | Advantages and Disadvantages of Electric Vehicles | 3 | Prepare a report on batteries used in EV and HEV. |
|  | 6 | Types of EVs- Battery Electric Vehicle (BEV) |  |  |
| 4 | 7 | PHEV (Plug in Hybrid Electric Vehicle) and Hybrid Electric Vehicle (HEV) | 4 | Diagnose, repair and maintenance of batteries used in Electric Vehicle. |
|  | 8 | Mandatory safety precautions while handling Electric Vehicle |  |  |
| 5 | 9,10 | Working principle and Control of motors used in Electric Vehicles- Brushless DC (BLDC) motor | 5 | Study of various types of braking system used in EV. |
| 6,7 | 11 | Switched Reluctance Motor (SRM) | 6 | Demonstration of wiring layout of Electric Vehicles using model (if available) or watching videos |
|  | 12,13 | Permanent Magnet Synchronous Motor (PMSM). | 7 | Prepare test procedure for electrical equipment used in Electric vehicle. |
|  | 14 | Advantages and disadvantages of above motors |  |  |
| 8 | 15 | Electric Vehicle Charger | 8 | List safety procedures and schedule for handling HEVs and EVs. |
|  | 16 | Main components of EV Charger, EV Charging Sockets |  |  |
| 9 | 17 | Charging of Electric Vehicle | 9 | Case study of Electric Vehicle available in Indian market and study the technology used in it. |
|  | 18 | Safety precautions for EV charging |  |  |
| 10, 11 | 19 | Types of batteries used in EVs- dry batteries | 10 | Measurement of voltage of battery installed in Electric vehicle. |
|  | 20,21 | Construction and working of Lithium Ion batteries |  |  |
|  | 22 | Charging & discharging tests of Li-Ion batteries |  |  |
| 12 | 23 | Regenerative braking in EVs |  |  |
|  | 24 | Battery management system |  |  |
| 13 | 25 | Battery cooling system |  |  |
|  | 26 | Overview of Hybrid Electric Vehicles |  |  |
| 14 | 27 | Types of HEV (overview) like gasoline ICE & battery, diesel &battery |  |  |
|  | 28 | Battery & Fuel cell, battery capacitor, battery & flywheel |  |  |
| 15 | 29 | Comparison with EV, advantages and disadvantages of HEV |  |  |
|  | 30 | Revision Class-1 |  |  |
| 16 | 31,32 | Revision Class-2 |  |  |

| Name of the Faculty |  |  |  |  |  |  | Mrs. Parul Trake |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Discipline |  |  |  |  |  |  | Electrical Engineering |  |  |
| Semester |  |  |  |  |  |  | 5th Semester |  |  |
| Subject |  |  |  |  |  |  | Industrial Electronics and Control of Drives |  |  |
| Lesson Plan Duration |  |  |  |  |  |  | 15-16 Week |  |  |
| Week | Theory |  |  |  |  |  | Practical |  |  |
|  | Lecture |  | Topic (including assignment / test) |  |  |  | Day | Topic |  |
| 1 | 1 |  | Classification of Thyristors |  |  |  | 1 | To draw V-I characteristics of an SCR. |  |
| 2 | 2,3,4 |  | Construction, working principle and V-I characteristics of SCR, DIAC, TRIAC |  |  |  | 2 | To draw V-I characteristics of a TRIAC. |  |
| 3 | 5 |  | Two transistor analogy of SCR |  |  |  | 3 | To draw V-I characteristics of a DIAC. |  |
|  | 6 |  | Selection of heat sinks for Thyristors |  |  |  | 4 | To draw uni-junction transistor characteristics. |  |
|  | 7,8 |  | Methods of triggering a Thyristor and their types, dv/dt and di/dt protection. |  |  |  | 5 | To observe the output wave shape of an UJT relaxation oscillator. |  |
| 4 | 9,10,11 |  | Commutation of Thyristors. |  |  |  | 6,7 | To observe the output waves shape on CRO of Single phase half controlled full wave rectifier. |  |
| 5 | 12,13,14 |  | UJT: Construction, working principles and V-I characteristics. UJT as a relaxation oscillator |  |  |  | 8,9 | To observe the output wave shape on CRO of Single phase full controlled full wave rectifier. |  |
| 6 |  |  | Applications of SCR, DIACS and TRIACS such as light intensity control, speed control of DC and universal motor, fan regulator ,battery charger etc. |  |  |  | 10 | Illumination control circuit using SCR/TRIAC and observe the wave shape across load. |  |
| 7 | 18 |  | Single phase half wave controlled rectifier with resistive load and inductive load, concept of freewheeling diode. |  |  |  | 11,12 | Speed-control of a DC shunt motor or universal motor using SCR/TRIAC. |  |
|  | 19 |  | Single phase half controlled full wave rectifier. |  |  |  | 13 | Fan speed regulator using TRIAC. |  |
|  | 20 |  | Single phase full controlled full wave rectifier, Single phase full wave centre tapped rectifier. |  |  |  | 14 | To study the Construction of battery charger using Thyristor. |  |
| 8 | 21 |  | Three phase full wave half controlled bridge rectifier, Three phase full wave fully controlled bridge rectifier. |  |  |  | 15 | Testing and Installation of UPS. |  |
|  | 22 |  | Inverters: Introduction, working principle, voltage and current driven, series and parallel inverters and applications. |  |  |  |  |  |  |
|  | 23 |  | Choppers: Introduction, types of choppers and their working principle and applications. |  |  |  |  |  |  |
| 9 | 24,25 |  | Dual converters: Introduction, working principle and applications. |  |  |  |  |  |  |
|  | 26, 27 |  | Cyclo-converters: Introduction, types, working principle and applications. |  |  |  |  |  |  |
| 10 | 28 |  | Concept of electric drive, Advantages of Electric drives. |  |  |  |  |  |  |
|  | 29, 30 |  | DC drives control: Half wave drives, Full wave drives, Chopper drives. |  |  |  |  |  |  |
| 11 | 31, 32 |  | AC drives control: Phase control, Variable frequency a.c. drives, Constant V/f control |  |  |  |  |  |  |
|  | 33 |  | Cyclo convertors controlled AC drives. |  |  |  |  |  |  |
| 12 | 34, 35 |  | Concept of Electric Braking for AC Drive. |  |  |  |  |  |  |
|  | 36,37 |  | Uninterrupted Power supply (UPS): Working Principle of Online and off Line UPS. |  |  |  |  |  |  |
| 13 | 38 |  | Switch mode Power Supply (SMPS): Working Principle and use. |  |  |  |  |  |  |
|  | 39 |  | Power Converter for Electrical Vehicle charging. |  |  |  |  |  |  |
|  | 40 |  | Power Converter for Renewable Energy: solar and wind. |  |  |  |  |  |  |
| 14,15 | 41 |  | Revision of Topics already covered |  |  |  |  |  |  |
|  | 42 |  | Class Test |  |  |  |  |  |  |
|  | 43-45 |  | Problems, Doubts & their solution |  |  |  |  |  |  |
| Name of the Faculty |  |  |  |  |  | Mohd. Mohsin |  |  |  |
| Discipline |  |  |  |  |  | Electrical Engineering |  |  |  |
| Semester |  |  |  |  |  | 3rd Semester |  |  |  |
| Subject |  |  |  |  |  | Electrical Machines-I |  |  |  |
| Lesson Plan Duration |  |  |  |  |  | 15-16 Week |  |  |  |
| Week |  |  | Theory |  |  | Practical |  |  |  |
|  |  |  | Lecture |  | Topic (including assignment / test) | Day | Topic |  |  |
| 1 |  |  | 1 |  | Definition of motor and generator. | 1, 2 | Measurement of the angular displacement of the rotor of a slip-ring induction motor on. |  |  |
|  |  |  | 2 |  | Concept of torque. | 3,4 | Application of DC to stator of motor winding in sequence and simultaneously to each phase of rotor winding. |  |  |
|  |  |  | 3 |  | Torque development due to alignment of two fields, concept of torque angle. | 5.6 | Measurement of the angular displacement of the rotor of a slip-ring induction motor. |  |  |
| 2 |  |  | 4 |  | Electro-magnetically induced emf | 4 | Application of DC to stator of motor winding in sequence and simultaneously to each phase |  |  |
|  |  |  | 5 |  | Elementary concept of an electrical machine | 5 | Speed control of dc shunt motor (i) Armature control method (ii) Field control method |  |  |
|  |  |  | 6 |  | Main constructional features of DC machines. Comparison of generator and motor, | 6 | Study of dc series motor with starter (to operate the motor on no load for a moment) |  |  |
| 3 |  |  | 7 |  | Function of the commutator for motoring action. | 7 | Study of 3-point starter for starting D.C. shunt motor. |  |  |
|  |  |  | 8 |  | Function of the commutator for generation action | 8 | To perform open circuit and short circuit test for determining: (i) equivalent circuit (ii) the regulation and (iii) efficiency of a transformer from the data obtained from open circuit and short circuit test at full load |  |  |
|  |  |  | 9 |  | Factors determining induced emf, Factors determining the electromagnetic torque | 9 |  |  |  |
| 4 |  |  | 10 |  | Types of dc generation on the basis of excitation. |  |  |  |  |
|  |  |  | 11 |  | Significance of back e.m.f built up in a dc shunt generator, | 10 | To find the efficiency and regulation of single-phase transformer by actually loading it. |  |  |
|  |  |  | 12 |  | the relation between back emf and Terminal voltage. |  |  |  |  |
| 5 |  |  | 13 |  | Assignment on Torque development due to alignment of two fields & Comparison of generator and motor |  |  |  |  |
|  |  |  | 14 |  | Armature Reaction, Commutation methods to improve commutation | 11 | Checking the polarity of the windings of a three phase transformer and connecting the windings in various configurations. |  |  |
|  |  |  | 15 |  | Performance of different types of DC motors characteristics of different types of DC motors | 12 |  |  |  |
| 6 |  |  | 16 |  | Speed control of dc shunt motors | 13 |  |  |  |
|  |  |  | 17 |  | Speed control of dc series motors | 14 | Finding the voltage and current relationships of primary and secondary of a three-phase transformer under balanced load in various configurations conditions such as Star-star, Star delta, Delta star, Delta - Delta configuring conditions. |  |  |
|  |  |  | 18 |  | Revision /test |  |  |  |  |
| 7 |  |  | 19 |  | Need of starter, 4-point starter dc shunt motor |  |  |  |  |
|  |  |  | 20 |  | Three-point dc shunt motor starter, Applications of DC motors, Losses in a DC machine |  |  |  |  |
|  |  |  | 21 |  | Determination of losses by Swinburne’s test |  |  |  |  |
| 8 |  |  | 22 |  | Transformers (single phase) Introduction, Constructional features of a transformer and parts of transformer |  |  |  |  |
|  |  |  | 23 |  | Working principle of a transformer,EMF equation |  |  |  |  |
|  |  |  | 24 |  | Transformer on no-load |  |  |  |  |
| 9 |  |  | 25 |  | Phasor diagram of Transformer |  |  |  |  |
|  |  |  | 26 |  | Transformer – neglecting voltage drop in the windings, Transformer – Ampere turn balance |  |  |  |  |
|  |  |  | 27 |  | Transformer – neglecting voltage drop inthe windings – Ampere turn balance – its phasor diagram |  |  |  |  |
| 10 |  |  | 28 |  | Mutual and leakage fluxes, leakage reactance |  |  |  |  |
|  |  |  | 29 |  | Assignment on transformer, Transformer on load, voltage drops, its phasor diagram Equivalent circuit |  |  |  |  |
|  |  |  | 30 |  | Revision/test |  |  |  |  |
| 11 |  |  | 31 |  | Relation between induced emf and terminal voltage |  |  |  |  |
|  |  |  | 32 |  | regulation of a transformer and its mathematical relation |  |  |  |  |
|  |  |  | 33 |  | Losses in a transformer, Open circuit and short circuit test. |  |  |  |  |
| 12 |  |  | 34 |  | Calculation of efficiency, condition for maximum efficiency. |  |  |  |  |
|  |  |  | 35 |  | maintenance of Transformer, scheduled Maintenance |  |  |  |  |
|  |  |  | 36 |  | Auto transformer construction, Auto transformer saving of copper. |  |  |  |  |
| 13 |  |  | 37 |  | Auto transformer working and applications |  |  |  |  |
|  |  |  | 38 |  | Different types of transformers including dry type transformer |  |  |  |  |
|  |  |  | 39 |  | Construction of three phase transformers, accessories of transformers such as Conservator, breather, Buchholz Relay, Tap Changer (off load and on load) |  |  |  |  |
| 14 |  |  | 40, 41, 42 |  | Types of three phase transformer i.e. delta-delta, delta-star, star-delta and |  |  |  |  |
|  |  |  |  |  | star-star |  |  |  |  |
| 15 |  |  | 43 |  | Conditions for parallel operation (only conditions are to be studied) |  |  |  |  |
|  |  |  | 44, 45 |  | Transformers three phase On load tap changer, power transformer distribution transformer |  |  |  |  |
| 16 |  |  | 46, 47, 48 |  | Revision Class |  |  |  |  |

| Name of the Faculty | Mr. Surender Malik |
| --- | --- |
| Discipline | Electrical Engineering |
| Semester | 3rd Semester |
| Subject | Electrical and Electronics Engineering Materials |
| Lesson Plan Duration | 15-16 Week |

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
|  | Lecture Day | Topic (including assignment / test) | Day | Topic |
| 1 | 1 | Classification of materials into conducting, Semi conducting |  |  |
|  | 2 | Insulating materials.Atomic theory, Energy band theory. Classifications of materials on the basis of atomic structure and energy bands. Characteristics of materials. |  |  |
| 2 | 3 | Types of conducting material such as low resistivity and high resistivity materials. |  |  |
| 3 | 4,5 | Properties and applications of different low resistivity materials such as silver, Gold, copper (hard drawn, annealed copper), aluminum, steel, ACSR and its alloys like copper alloy (brass, bronze) etc. |  |  |
| 4 | 6,7 | Properties and applications of different high resistivity material such as carbon, tungsten, platinum, mercury, lead, and its alloys like Constantan or eureka, Brass phosphor bronze, nichrome, manganin, tin-lead alloy etc. |  |  |
| 5 | 8 | Semi-conductors Materials and their Applications, |  |  |
|  | 9 | Commonly used semiconducting material Germanium and silicon and their properties. Types of Semiconductors etc. |  |  |
| 6 | 10 | Characteristics of good Insulating material, Electrical, thermal, chemical, visual, mechanical |  |  |
|  | 11 | Physical properties of Insulating materials. Types of Insulating materials. classification of insulating material on the basis of temperature |  |  |
| 7 | 12 | Gaseous Insulating Materials: Properties and applications of air, nitrogen and Sulphur hexafluoride (SF-6) gases |  |  |
|  | 13 | Liquid Insulating Materials: Properties and applications of Mineral and Insulating oil for transformers (mineral oil), switchgears, synthetic insulating liquid (Pyranol). |  |  |
| 8 | 14 | Solid Insulating Materials: Properties, types and applications of Plastics such as polyvinyl chloride (PVC), Polyethylene, polystyrene, epoxy resin, Bakelite, Melamine, silicon resins |  |  |
|  | 15 | Natural Insulating materials, properties and their applications: Mica, asbestos, ceramic materials (porcelain and steatite) |  |  |
| 9 | 16 | Glass, Cotton, Silk, Jute, Paper (dry and impregnated) Rubber, Bitumen |  |  |
|  | 17 | Teflon, Silicon Grease, Insulating varnishes for coating and impregnation, Enamels for winding wires, wood |  |  |
| 10 | 18 | Characteristics and types of magnetic material, Properties of soft magnet material like Iron silicon alloy |  |  |
| 11 | 19,20 | Nickel iron alloy, Mu metal, soft ferrites, grain orientation, cold rolled grain-oriented silicon steels (C.R.G.O) etc. and their applications |  |  |
| 12 | 21,22 | Properties of hard magnet material like Tungsten steel alloy, chromium steel, cobalt steel, Hard ferrites etc. and their applications. |  |  |
| 13 | 23 | Cobalt steel, Hard ferrites etc. and their applications. |  |  |
|  | 24 | Thermocouples, Bimetals, soldering, fuse, materials and their applications |  |  |
| 14 | 25 | Material used in fabrications of electrical machines such as motors |  |  |
|  | 26 | Generators, transformers |  |  |
| 15 | 27 | Class Test |  |  |
|  | 28,29 | Problems, Doubts & their solution |  |  |
| 16 | 30,31,32 | Revision of important topics |  |  |

| Name of the Faculty |  |  | Mrs. Sharmila |  |  |
| --- | --- | --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |  |  |
| Semester |  |  | 3rd Semester |  |  |
| Subject |  |  | Electrical Measurement & Instrumentation |  |  |
| Lesson Plan Duration |  |  | 15-16 Week |  |  |
| Week | Theory |  |  | Practical |  |
|  | Lecture Day | Topic (including assignment / test) |  | Day | Topic |
| 1 | 1 | Significance of measurement, errors in measurement, types of error |  | 1 | Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance |
|  | 2,3 | Classification of measuring instruments: indicating, recording, and integrating instruments; Essential requirements of an indicating instrument. |  | 2 | To measure the value of earth resistance using earth tester. |
| 2 | 4 | Concept of Ammeter, voltmeter, ammeter construction, working principle |  | 3 | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter and to verify results with calculations. |
|  | 5,6 | Merits, demerits and comparison of moving coil, moving iron meter, rectifier type |  | 4 | Measurement of power and power factor of a three- phase balanced load by two wattmeter method. |
| 3 | 7,8 | Extension of range and calibration of voltmeter and ammeter, Errors and compensation |  | 5 | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw |
|  |  |  |  |  | wave shape of signal. |
|  | 9 | Construction, working principle, |  | 6 | Measurement of power in a |
|  |  | merits and demerits of dynamometer wattmeter |  |  | 3-phase circuit using CT, PT and 3-phase wattmeter. |
| 4 | 10 | Digital wattmeter, Active and reactive power measurement by , two and three wattmeter method. |  | 7 | Use of LCR meter for measuring inductance, capacitance and resistance. |
|  | 11, 12 | Effect of Power factor on wattmeter reading in two wattmeter method, Maximum Demand indicator |  | 8 | To record all electrical quantities from the meters installed in the institution |
|  |  |  |  |  | premises |
| 5 | 13, 14, | Construction, working principle, merits and demerits of single-phase and three-phase energy meters (Induction type), Errors and |  | 9 | To measure Energy at different Loads using Single Phase Digital Energy meter. |
|  | 15 | their compensations |  |  |  |
| 6 | 16 | Calibration of energy meter using direct loading |  | 10 | Calibration of single phase and three-phase energy |
|  |  |  |  |  | meter. |
|  | 17, 18 | Digital energy meter (diagram, |  | 11 | Measurement of pressure by using LVDT. |
|  |  | construction and application) |  |  |  |
| 7 | 19, | Construction, working principle and application of Meggar, Earth tester (analog and digital), multi- meter (analog and digital), Frequency meter (dynamometer type), single power factor meter (Electrodynamometer type) |  | 12 | To measure temperature using a thermo-couple |
|  | 20,21 |  |  |  |  |
| 8 | 22 | Working principle of synchroscope and phase sequence indicator, tong tester |  | 13 | Measurement of temperature by using thermistor/Thermal Imager. |
|  |  | (Clamp-on meter) |  |  |  |
|  | 23 | Study of LCR meters and their |  | 14 | To measure the strain using electrical strain gauge |
|  |  | applications |  |  |  |
|  | 24 | Construction, working and applications of CT and PT |  | 15 | To measure the pH level using pH |
|  |  |  |  |  | meter. |
| 9 | 25, 26 | Cathode Ray Oscilloscope: Block diagram, working principle of CRO and its various controls, Digital Storage Oscilloscope |  |  |  |
|  |  | (DSO) |  |  |  |
|  | 27 | Introduction, Types of Transducers |  |  |  |
| 10 | 28, 29 | Construction and principle of resistive transducer-Potentiometer–variac and strain gauges -No derivation |  |  |  |
| 11 | 30, 31 | Only definition and formula for gauge factor, Types of strain gauges like unbonded, bonded |  |  |  |
|  |  | and semiconductor |  |  |  |
| 12 | 32, 33 | Construction and principle of Inductive transducers-L.V.D.T. and R.V.D.T, their applications. |  |  |  |
| 13 | 34.35 | Construction, principle and applications of transducers – Piezoelectric transducer, photo-conductive cells, photo voltaic cells. |  |  |  |
| 14 | 36, 37, | Temperature measurement - Construction and Working of RTD, Thermistor and Thermocouple, radiation pyrometer, technical specifications and ranges. |  |  |  |
|  | 38 | Thermal Imager Camera (Concept) |  |  |  |
| 15 | 39, 40 | Pressure measurement – Construction and working of bourdon tube, bellow diaphragm strain gauge. Measurement of pH |  |  |  |
|  |  | Level. |  |  |  |
| 16 | 41- 45 | Revision of important topics |  |  |  |

| Name of the Faculty |  |  | Visiting Faculty |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |  |  |  |
| Semester |  |  | 3rd Semester |  |  |  |
| Subject |  |  | Analog and Digital Electronics |  |  |  |
| Lesson Plan Duration |  |  | 15-16 Week |  |  |  |
| Week | Theory |  | Practical |  |  |  |  |
|  | Lecture | Topic (including assignment / test) | Day | Topic |  |  |  |
| 1 | 1,2 | Concept of insulators, conductors and semiconductors | 1 | To Plot V-I characteristics of a PN junction diode, To Plot V-I characteristics of a Zener diode, Observe the output of waveform: |  |  |  |
|  | 3 | Intrinsic and extrinsic semiconductor | 2 | Half-wave rectifier circuit using one diode, Full-wave rectifier circuit using two diodes |  |  |  |
| 2 | 4,5 | P and N type semiconductor and their conductivity | 3 | Observe the output of waveform of Bridge-rectifier circuit using four diodes. |  |  |  |
|  | 6 | Effect of temperature on conductivity of intrinsic semiconductor | 4 | Plotting of input and output characteristics and calculation of parameters of transistors in CE configuration., |  |  |  |
| 3 | 7,8,9 | PN junction diode, mechanism of current flow in PN junction | 5 | Plotting of input and output characteristics and calculation of parameters of transistors in CB configuration |  |  |  |
| 4 | 10 | Forward and reverse biased PN junction, potential barrier | 6 | To study weighing machine using load cell |  |  |  |
|  | 11,12 | Drift and diffusion currents, depletion layer | 7 | Plotting of V-I characteristics of a FET |  |  |  |
| 5 | 13 | V-I characteristics of diodes | 8 | Basic logic operations of AND, OR, NOT gates |  |  |  |
|  | 14,15 | Diode as half-wave, full wave and bridge rectifiers, Peak Inverse Voltage, rectification efficiencies and ripple factor calculations | 9 | Verification of truth tables for NAND, NOR and Exclusive OR (EX-OR) and Exclusive NOR (EX-NOR) gates |  |  |  |
| 6 | 16 | Concept of filters, | 10 | Realization of logic functions with the help of NAND or NOR gates. |  |  |  |
| 7 | 17 | Types of diodes, characteristics and applications of Zener diodes | 11 | To design a half adder using XOR and NAND gates and verification of its operations. |  |  |  |
|  | 18,19 | Concept of a bipolar transistor, PNP and NPN transistors, CB, CE, CC configurations of a transistor | 12 | Construction of a full adder circuit using XOR and NAND gates and verify its operation |  |  |  |
| 8 | 20,21,22 | Transistor as an amplifier in CE Configuration, Current amplification factors, Comparison of CB, CE and CC Configurations | 13 | Verification of truth table for IC flip-flops (At least one IC each of D latch, D flip-flop, JK flip-flops) |  |  |  |
|  |  |  | 14 | Verification of truth table for encoder and decoder ICs. |  |  |  |
| 9 | 23,24,25 | Construction, operation and characteristics of FETs, FET as an amplifier | 15 | Verification of truth table for Mux and De-Mux |  |  |  |
| 10 | 26,27 | Construction, operation and characteristics of a MOSFET, Comparison of JFET, MOSFET and BJT |  |  |  |  |  |
|  | 28 | Distinction between analog and digital signal. |  |  |  |  |  |
| 11 | 29 | Decimal, Binary, octal and hexadecimal number system |  |  |  |  |  |
|  | 30,31 | Conversion from decimal and hexadecimal to binary and vice-versa, Binary addition and subtraction |  |  |  |  |  |
| 12 | 32,33,34 | Sequential Circuits such as Half adder, Full adder |  |  |  |  |  |
| 13 | 35,36 | Mux, De-Mux, Encoder and Decoder |  |  |  |  |  |
|  | 37 | Combinational Circuits like Latch, Flip Flops |  |  |  |  |  |
| 14 | 38,39 | shift registers and counters |  |  |  |  |  |
|  | 40,41 | A/D and D/A Converters and its Applications |  |  |  |  |  |
| 15 | 42-45 | Revision of important topics |  |  |  |  |  |
| Name of the Faculty |  |  |  |  | Mrs. Surbhi / Mr. Dinesh |
| Discipline |  |  |  |  | Electrical Engineering |
| Semester |  |  |  |  | 3rd Semester |
| Subject |  |  |  |  | Electrical Engineering Drawing |
| Lesson Plan Duration |  |  |  |  | 15-16 Week |

| Practical Day | Topic |
| --- | --- |
| 1 | Unit 1 : Electrical Symbols used in Electrical installation |
| 2 | Drawing sheet1: Design and Drawing of panels/Distribution board using MCB, ELCB main switches and change over switches |
| 3 | Drawing sheet2: Design and Drawing of panels/Distribution board using MCB, ELCB main switches and change over switches |
| 4 | Unit 2 : DOL starting of 3-phase induction motor |
| 5 | 3-phase induction motor getting supply from selected feeder |
| 6 | Forwarding/reversing of a 3-phase induction motor |
| 7 | Two speed control of 3-phase induction motor |
| 8 | Sequential operating of two motors using time delay relay |
| 9 | Manually generated star delta starter for 3-phase induction motor |
| 10 | Automatic star delta starter for 3-phase Induction Motor |
| 11 | Draw the wiring diagram of battery and inverter connected to residential load. |
| 12 | Draw the wiring diagram of standalone solar light system with battery for a residential house |
| 13 | Draw the wiring diagram of solar water heating system. |
| 14 | Key diagram of 11kV, 33kV |
| 15 | Key diagram of 66kV sub-stations |
| 16 | Key diagram of 132 kV sub-stations |
| 17 | Draw pipe Earthling. |
| 18 | Draw plate Earthling. |
| 19 | Bus bar post. |
| 20 | Kit Kat Fuse. |
| 21 | Pin type insulator (Pin Type 11kV) |
| 22 | Pin type insulator (Pin Type 66kV) |
| 23 | Rotor of a squirrel cage induction motor |
| 24 | Stator of 3 phase Induction motor (Sectional View) |
| 25 | Revision |
| 26 | Revision |
| 27 | Revision |
| 28 | Revision |

| Name of the Faculty |  |  | Mrs. Parul Trake |  |
| --- | --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |  |
| Semester |  |  | 1st Semester |  |
| Subject |  |  | Fundamental of Information Technology |  |
| Lesson Plan Duration |  |  | 15-16 Week |  |
| Week | Theory |  | Practical |  |
|  | Lecture | Topic (including assignment / test) | Day | Topic |
| 1 | 1,2 | Brief history of development of computers, Definition of Computer, Block diagram of a Computer, Hardware, Software, Booting: Cold and Hot Booting, | 1 | Browser features, browsing, using various search engines, writing search queries. |
| 2 | 3,4 | Interaction between the CPU and Memory with Input/output devices, Function of CPU and major functional parts of CPU. | 2 | Visit various e-governance/Digital India portals; understand their features, services offered. |
| 3 | 5,6 | Memory, Bit, Nibble, Byte, KB, MB, GB, TB, PB, Functions of memory, Use of storage devices in a Computer, List types of memory used in a Computer, Importance of cache memory, CPU speed and CPU word length | 3 | Read Wikipedia pages on computer hardware components, look at those components in lab, identify them, recognize various ports/interfaces and related cables, etc. |
| 4 | 7,8 | Understanding browser, Introduction to WWW, efficient use of search engines, awareness about Digital India portals (state and national portals) and college portals. | 4 | Using Administrative Tools/Control Panel Settings of Operating Systems. |
| 5 | 9,10 | Advantages of Email, Various email service providers, Creation of email id, sending and receiving emails | 5 | Connect various peripherals to computer; explore various features of peripherals and their device software. |
| 6 | 11 | Attaching documents with email and drive. Effective use of Gmail, G-Drive, Google Calendar, Google Sites | 6 | Explore features of Open Office tools and MS-Office, create documents, create presentations, create spreadsheet, using these features, do it multiple times. |
|  | 12,13 | Google Sheets, Online mode of communication using Google Meet & WebEx | 7 | Working with Conversion software like Pdf to word, Word To PDF, etc. |
| 7 | 14 | Introduction to Programming, Steps involved in problem solving, Definition of Algorithm, Definition of Flowchart | 8 | Working with Mobile Applications – use Aadhaar for Authentic Mobile app, Installation and Settings, Govt. of India Mobile Applications. |
|  | 15 | Steps involved in algorithm development, differentiate algorithm and flowchart, symbols used in flowcharts | 9 | Creating email ID, sending and receiving mails with attachments. |
| 8 | 16 | algorithms for simple problems, flowcharts for simple problems | 10 | Using Google Drive, Google Calendar. |
| 9 | 18 | Office Tools like Libre Office/Open Office/MSOffice. | 12 | ii. To convert temperature from Celsius to Fahrenheit. |
|  | 19,20 | Open Office Writer – Typesetting Text and Basic Formatting, Inserting Images, Hyperlinks, Bookmarks, Tables and Table Properties in Writer Introducing Libre Office/ Open Office Calc | 13 | iii. To find Area and Perimeter of Square. |
| 10 | 21,22 | Working with Cells, Sheets, data, tables, using formulae and functions, using charts and graphics. |  |  |
| 11 | 23,24 | Open Office Impress – Creating and Viewing Presentations |  |  |
| 12 | 25,26 | Inserting Pictures and Tables, Slide Master and Slide Design, Custom Animation. |  |  |
| 13 | 27,28 | Introduction to Digital Marketing – Why Digital Marketing, Characteristics of Digital Marketing, Tools for Digital Marketing, |  |  |
| 14 | 29,30 | Effective use of Social Media like LinkedIn, Google+, Facebook, Twitter, etc.: Features of Social media |  |  |
| 15 | 31,32 | Advantages and Disadvantages of Social Media. Revision of important topics |  |  |

| Name of the Faculty |  |  | Visiting Faculty |  |
| --- | --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |  |
| Semester |  |  | 1st Semester |  |
| Subject |  |  | Principle of Electrical Engineering |  |
| Lesson Plan Duration |  |  | 15-16 Week |  |
| Week | Theory |  | Practical |  |
|  | Lecture | Topic | Day | Topic |
| 1 | 1 | Introduction, Nature of Electricity, Electric current, | 1 | Familiarization of basic components/equipment like ammeter, voltmeter, watt meter, resistance, capacitor, inductor, energy meter, power factor meter, CRO, multi-meter etc, and their operation, uses . |
|  | 2 | Electrical Energy, Electrical power and their unit. | 2 | Determine the value of resistance using colour coding method. |
| 2 | 3 | Resistance, conductivity and resistivity, resistance properties. | 3 | Observation of change in resistance of a bulb in hot and cold conditions, using voltmeter, and ammeter |
|  | 4 | Rating and wattages of Electrical appliances, heating effect of Electrical current. | 4 | To charge and discharge a capacitor and to show the graph on C.R.O. |
| 3 | 5,6 | Introduction to Capacitors, capacitance, Variable capacitor, Factors affecting capacitance of a capacitor and its various connections. | 5 | Verification of laws of capacitors in series and parallel. |
| 4 | 7 | Factors affecting capacitance of a capacitor and its various connections. | 6 | To verify ohm's law by drawing a graph between voltage and current |
|  | 8 | Energy stored in capacitor, Charging and discharging of a capacitor. | 7 | Verification of Kirchhoff’s Current Law in a dc circuit. |
| 5 | 9 | Charging and discharging of a capacitor. | 8 | Verification of Kirchhoff’s Current Law in a dc circuit. |
|  | 10 | Ohm's law with practical implementation. | 9 | Verification of Kirchhoff’s Voltage Laws in a dc circuit. |
| 6 | 11 | Definition of DC circuit, types of DC circuits | 10 | Measurement of current and voltage in series resistive circuit. Measurement of current and voltage in parallel resistive circuit. |
|  | 12 | Concept of voltage source & current source, connections and their conversions. | 11 | Measurement of current and voltage in series resistive circuit. Measurement of current and voltage in parallel resistive circuit. |
| 7 | 13 | Concept of voltage source & current source, connections and their conversions. | 12 | To find the ratio of inductance of a coil having air-core and iron-core respectively and to observe the effect of introduction of a magnetic core on coil inductance. |
|  | 14 | Wheatstone Bridge. | 13 | To find the ratio of inductance of a coil having air-core and iron-core respectively and to observe the effect of introduction of a magnetic core on coil inductance. |
| 8 | 15 | Kirchhoff’s Laws-KVL and KCL. | 14 | Verification of Faraday's law of electromagnetic induction |
|  | 16 | Star – Delta connections and their conversion. | 15 | To obtain BH curve of a magnetic material |
| 9 | 17 | UNIT III Electrostatics & Magneto statics | 16 | Demonstration of parts of a battery and find the specific gravity of battery, |
|  | 18 | Concepts of Electrostatics, Coulomb’s law. | 17 | Demonstration of charging and discharging of Battery and measure the terminal voltage |
| 10 | 19 | Concept of magnetism, Magnetic field, Magnetic lines of force | 18 | During charging and discharging condition. |
|  | 20 | Magnetic effect of electric current, direction of magnetic field and current. |  |  |
| 11 | 21 | Analogy between electric and magnetic circuit. |  |  |
|  | 22 | Determination of Ampere Turns, Series & parallel magnetic circuits, |  |  |
| 12 | 23 | Faraday’s laws of electro-magnetic induction. |  |  |
|  | 24 | E.M.F induced in a conductor. |  |  |
| 13 | 25 | UNIT V Batteries |  |  |
|  | 26 | Charging methods of storage battery and charging indications. Characteristics of battery, |  |  |
| 14 | 27 | Introduction to maintenance free batteries. |  |  |
|  | 28 | Disposal of batteries |  |  |
| 15 | 29 | Revision of Unit 1 |  |  |
|  | 30 | Revision of Unit 2 |  |  |
| 16 | 31,32 | Revision of Unit 3,4 |  |  |